Automated External Defibrillator Requirements for Catholic Church Endowment Society Sites

Following release of the Automated External Defibrillators (Public Access) Act 2022 (SA), Regulations and guidance material were developed and released providing clarity on the requirements.  The relevant legislation came into force on 1 January 2026 with 12 months to ensure compliance to the requirements.

Several key points to highlight:

- Responsibility for purchasing and installing AEDs rests with the building owner.

- When purchasing an AED(s) complete a Pre-Purchase Checklist (046F).

- AEDs purchased and installed must have an Australian Therapeutic Goods Administration (TGA) approval.

- While not mandatory, if the site does not have trained first aiders, nurses etc. then training in the use of AEDs should be provided at the time of installation. Most suppliers of AEDs can either facilitate this training or assist in arranging it.

- AEDs cannot be installed in a cabinet, container, or other structure requiring a key or code to access.

- Many AEDs available have an ongoing daily self-check feature that will provide an audible message if a fault is detected.

- Buses (which can carry 14 or more adults) owned and operated by CCES sites to transport students, residents, clients etc. are exempt from requiring an AED.

- Consider whether the AED may be used on a child (8 years of age or under or 25kg or less).

- When purchasing an AED ensure that it is equipped with two sets of defibrillation pads, shears and a razor as a minimum. A patient prep pack should be considered which includes a surgical razor, trauma shears, drying towel, nitrile gloves, disposal bag and a resuscitation mask.

- Signage must conform to the Australian Resuscitation Council approved AED symbol.

- AED(s) need to be registered through the SA Ambulance Service. Follow the prompts in this link to register your AED(s): SA Ambulance AED Register.

- Once installed, an ongoing program of inspection must be implemented. These inspections need to be completed at least quarterly. Use the AED Testing Record (083F) or equivalent.

EDUCATION

All schools (including early learning centres) require one AED per site, which must be readily accessible. Signage is required where the AED is physically located and near the main entrance to the school. Ideally this AED should be located at or near the front desk area.

If the school has a multi-purpose facility (i.e. hall, gym, sporting complex etc.) which is rented out, then an AED will also need to be provided for this area, along with relevant signage.

If the school operates a boarding house, then one AED should be provided in this area, along with relevant signage.

Schools will need to ensure that any AED unit purchased can be used on children 8 years of age or under (25kg or under). Some AEDs available have the ability to switch between adult or child mode, or pads specifically for children need to be purchased and available.

PARISH

All Places of Worship (i.e. Churches, Chapels or other designated areas) that are in use require one AED per location, which must be readily accessible, while the Place of Worship is open. Signage is required where the AED is physically located and near the main entrance to the Place of Worship.

Parish Offices where the public can freely access during operating hours and the building has a total floor area of 600m2 or more, will require an AED, along with relevant signage. If the AED provided in the Place of Worship (if adjacent to the Parish Office) is always readily accessible, then this would be considered adequate. If however, access to the AED in a Place of Worship is not always readily accessible, then the Parish Office area will require a dedicated AED, along with relevant signage.

If the Parish has a hall or similar which is rented out and the AED provided in the Church, Chapel or other designated area (if adjacent to the hall or similar) is always not readily accessible, then an AED should be provided for this area, along with relevant signage.

SOCIAL SERVICES

Most social services sites are likely to only require one AED, if any. Consider:

- Can the public freely access any part of the building or facility?

- Is the total floor area of the building or facility 600m2 or greater?

If the answer to both is ‘yes’, then one AED along with relevant signage is required. Signage must be installed where the AED is physically located and near the main entrance to the building or facility.

More than one AED may be required where the building or facility meets the following criteria:

- Activities undertaken at the site fall under the definition of ‘Commercial Purposes’ (the occupier of the land solely or primarily sells goods or provides services for money).

- The publicly accessible floor area is 1200m2 or greater.

One AED per 1200m2 of publicly accessible floor space required. These should be evenly installed throughout the building or facility.

Note: 	Even if the site does not require an AED, it is recommended that one be purchased as these are well proven in saving a person’s life.

AGED CARE

Aged Care Facilities will likely require multiple AEDs to be purchased and installed. One AED per 1200m2 of publicly accessible floor space required. Publicly accessible areas include spaces such as Chapels, lobbies, foyers, corridors, lifts, stairs coffee/tea areas and cafes. AEDs should be evenly installed throughout the facility. Signage is required where the AEDs are physically located and near the main entrance to the facility.

Where a Chapel (Place of Worship) is in place within the Aged Care Facility, the site must ensure that ready access to one or more AEDs in the facility is available for this location.

Please contact your Safety Business Partner at Catholic Safety and Injury Management for further guidance, if required.