## WHS
#VALUE! | Parish WHS & Maintenance Activity Schedule | [13 empty] | 018T (April 2025)
PARISH WHS ACTIVITY SCHEDULE (YEAR)
(initial and date when completed)
ITEM | FREQUENCY | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | RESPONSIBILITY | RELATED PROCEDURE
WHS & IM Policy (page 1 printed & displayed) | annually | [12 empty] | ? | WHS&IM Policy | bar: FEB
Employee Assistance Program (check poster/pamphlet displayed) | annually | [12 empty] | ? | Maintaining Workplace Health
Smoking (check 'no smoking' signage displayed at entrance and 'designated smoking area' signage, if applicable) | annually | [12 empty] | ?
Accidents & Incidents (incident report form available, incidents documented, review and check if notifiable, contact CSaIM Safety Business Partner) | monthly | [12 empty] | ? | Incident Reporting & Investigation
Asbestos Inspection (check condition & signage) | annually | [12 empty] | ? &/or Contractor | Asbestos
Asbestos Register & Plan (review, update if required and record) | 5 yearly
Contractors (check details, insurances and licences current, inductions current and register is in place & accurate) | annually | [12 empty] | ? | Contractor Management
Driving (check currency of licences, update records as required) | annually | [12 empty] | ? | Driver Safety
Electrical Testing & Tagging (items tested and tagged, new to service tags used for new items, register reviewed & updated) | annually | [12 empty] | ? & Contractor | Electrical
RCD Testing - Push Button (all RCDs tested, with this recorded) | 6 monthly
RCD Testing - Trip/Operating Time (all RCDs tested, with this recorded.Competent person to complete) | annually
Fire Fighting Equipment (inspection by contractor) | 6 monthly | [12 empty] | ? & Contractor | Emergency Management
Exit Light Testing - Battery Discharge (check completed and recorded) | 6 monthly
Smoke Detectors - Battery Change (if applicable and if not hard wired) | 12 monthly
Smoke & Heat Alarms (checked by contractor) | 6 monthly
Emergency Lighting - Battery Discharge (check completed and recorded) | 6 monthly
Emergency & Disaster Recovery Plan (check in place & review) | annually
Emergency Management Communication (in Parish bulletin) | 6 monthly
First Aid Kits (contents checked for completeness, in date and signage in place) | annually | [12 empty] | ? & Contractor | First Aid
Automated External Defibrilators (AED's) (checks as per instructions) | Define as per instructions
WHS for Officers (training for Priests, contact CSaIM Safety Business Partner) | 3 yearly | [12 empty] | ? | Induction & Training
Workplace Inspections (hazard report forms available & inspection completed at all locations) | 6 monthly | [12 empty] | ? | Hazard Management
Duress Alarm (fixed duress tested with security company, manual tested for operation, batteries replaced as required) | 3 monthly | [12 empty] | ? | Psychosocial Hazards
Volunteers (register in place, reviewed and current, inductions and Police checks completed) | 5 yearly | [12 empty] | ? | Volunteers
Working at Heights (ladders inspected, ladder register reviewed and updated) | annually | [12 empty] | ? | Fall Prevention
Septic Tank Maintenance (council has completed where rates paid, other site/s arranged by Parish) | 5 yearly | [12 empty] | ? & Contractor | Waste Management

## Maint
PARISH PREVENTATIVE MAINTENANCE SCHEDULE (YEAR?)
(initial and date when completed)
ITEM | FREQUENCY | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | RESPONSIBILITY | MORE INFORMATION
Roofing (Missing Tiles / Iron Lifting) | 6 monthly
Building Exterior (Salt Damp / Missing Bricks / Cracks) | 6 monthly
Building / Pest Control (Traps / Termites) | annually
Gutters / Downpipes (Condition / Clean / Cracks) | 6 monthly
Windows and Doors (Condition / Operation / Clean) | 6 monthly
Paths / Steps (Condition / Level / Paint) | 6 monthly
Lighting / Exterior (Condition / Operation / Clean) | 6 monthly
Lighting / Interior (Condition / Operation / Clean) | 6 monthly
Flooring / Carpet / Tiles / Lino (Lifting / Cracks / Condition) | 6 monthly
Ovens / Cooktops (Clean / Condition / Filters) | 6 monthly
Exhaust Fans (Condition / Clean / Operation) | 6 monthly
Air Conditioners (Service / Condition / Mounting) | 6 monthly
Gas Heaters (Condition / Operation / Clean) | annually
Trees / Shrubs (Condition / Roots / Prune) | annually
Bathrooms / Toilets (Condition / Clean / Operation) | monthly
Choir Loft (Condition / Steps / Handrail / Balustrade) | annually
Hot Water Systems (Condition / Pressure Relief Valve) | annually
Grounds (Condition / Mowing / Weeding / Prune) | monthly
Ramps (Condition / Handrails) | 6 monthly