Plant & Equipment Register Guideline

Plant includes any machinery, equipment, appliance, container, implement and tool, and includes any component or anything fitted or connected to any of those things.

Plant that relies exclusively on manual power for its operation and is designed to be primarily supported by hand (other than hand-held explosive power tools) is NOT specifically defined as Plant covered by the WHS Act and Regulations (SA) 2012. The general duty of care under the WHS Act and Regulations (SA) 2012 applies to this type of plant.

Why are Plant & Equipment Registers required?

- CSaIM Plant Management Procedure (15) requires a plant and equipment register be developed and implemented at your workplace.

- It provides supporting evidence of meeting the legislative requirements relating to record keeping associated with plant and equipment at a workplace.

- Provides a centralised record of plant and equipment at the workplace.

- Provides a means of keeping track of maintenance schedules.

- Provides a history of maintenance.

- Assists with managing the lifespan of plant/equipment and help workplaces budget for replacements / upgrades etc.

- Identify plant that requires registration / licensing with statutory authorities (predominantly SafeWork SA).

- Provides a record and means of managing risk assessments, whether a Standard Operating Procedure has been developed and implemented, and when review is due.

- Assists in allowing workplaces to demonstrate a planned and systematic approach to the appropriate management of plant and equipment in the workplace.

Can an Asset Register be a Plant & Equipment Register as well?

- Yes, it can in part initially. However, as plant and equipment depreciate, items that are removed from an asset register must be transferred to a workplace’s plant and equipment register.

- Asset registers are generally only in place for tax purposes and provide limited benefit for ongoing WHS management requirements relating to plant and equipment other than a list. Items below $1000 generally will not appear on an asset register and need to be included on the plant and equipment register.

This list is not exhaustive and is designed to give guidance to workplaces on what should be on a plant and equipment register. Consider which plant presents as an increased risk to workers or others when being used, maintained or accessed etc., to determine what items need to be recorded on a plant and equipment register. The plant and equipment detailed below is typical of what is in use at our workplaces and should be on a plant and equipment register.

Plant Requiring Registration with SafeWork SA:

- Boilers

- Pressure vessels

- Lifts

General:

- Site owned vehicles

- PV (solar) systems

- Gas BBQs

Information & Technology:

- Device charging stations

- Testing equipment associated with test and tag activity

Grounds & Maintenance:

- Tractors and any associated equipment e.g. harrows, slashers, cultivators, aerators, rollers etc.

- Gators

- Mowers

- Whipper snippers

- Brush cutters

- Hedge trimmers

- Chainsaws

- Stick saws

- Trailers

- Air compressors

- Water tanks

- Elevating work platforms

- Scaffolding

- Generators

- Vibrating plates / whackers

Design & Technology / Workshops:

- Laser Cutters

- 3D printers

- Pedestal drills

- Cut off saws

- Table saws

- Band saws

- Lathes

- Routers

- Dove jointing cutters

- Spray booths

- Welding / cutting equipment e.g. oxy/acetylene including flashback arrestors etc.

- Blower vacuums

- Buffing machines

- Planers

- Guillotines

- Nail guns

- Grinders

- Vehicle hoists

- Extraction systems including fixed and portable

Science:

- Fume cupboard

- Flammable / Corrosive cupboards

- Emergency shower / eyewash

Home Economics / Kitchens / Laundries:

- Commercial stoves

- Commercial blenders

- Commercial mixers

- Commercial slicers

- Commercial fridges / freezers

- Commercial washers

- Commercial dryers

- Salamanders

Art:

- Kilns

- Ovens

Halls / Gymnasiums:

- Retractable seating whether powered or not

- Power driven drawers / cupboards

- Retractable basketball rings

Other:

- Wheelchairs

- Patient lifters / hoists / slings

- Sack trucks

- trolleys

- water bubblers

- mixer taps

- anchor points / ladder attachment points

- large industrial fans

- wall mounted gas heaters / gas heaters in general