WORKPLACE INSPECTION CHECKLIST TECHNICAL STUDIES / TRADE TRAINING

To be customised to suit specific site environment

| Name of Worksite / Location: | Date: |  |  |  |
| --- | --- | --- | --- | --- |
| Area Inspected: | Inspected by: |  |  |  |
| FIRE AND EMERGENCY | YES | NO | N/A | ACTION / COMMENTS |
| Firefighting equipment (extinguishers, blankets, hose reels) clearly visible and suitable signage in place? (distance visible from 20 m) |  |  |  |  |
| Is the access to the firefighting equipment (extinguishers, blankets, hose reels) unobstructed? (1 m square) |  |  |  |  |
| Firefighting equipment in place (extinguishers, blankets, hose reels), serviced within the last 6 months, tag stamped, correctly charged (fire extinguishers) & clearly marked for type of fire? |  |  |  |  |
| Sprinklers unobstructed? |  |  |  |  |
| Location of all emergency equipment including alarms, emergency shut off devices, showers, eye wash stations, spill kits etc. clearly visible and suitable signage in place? |  |  |  |  |
| Clear access is available to all emergency equipment, including alarms, emergency shutoff devices, showers, eye wash stations and spill kits etc.? |  |  |  |  |
| Are evacuation plans displayed? Are they current (within 5 year date)? Are fire extinguishers clearly marked on the evacuation plans? |  |  |  |  |
| Emergency lighting and exit signs functioning correctly? |  |  |  |  |
| Where a door is designated as an emergency exit, does it open outwards? If the answer is ‘No’ is there a device that enables the door to be held open? |  |  |  |  |
| Exit doors open easily from the inside, without a key? |  |  |  |  |
| Doors easily secured for lock-ins? (no key required) |  |  |  |  |
| Exits free from obstructions? (internally and externally) |  |  |  |  |
| Fire doors close properly? – (not chocked (wedged) open) |  |  |  |  |
| Emergency phone numbers clearly displayed? |  |  |  |  |
| Emergency warning system able to be clearly heard? |  |  |  |  |
| Floors free from defects, clear of leads, cables etc.? |  |  |  |  |
| Glass in door panels & other panels clearly marked? |  |  |  |  |
| FLOORS | YES | NO | N/A | ACTION / COMMENTS |
| Even surface – no holes? |  |  |  |  |
| Clear Access – all walkways, entries and exits kept clear of all trip hazards, with walkways a minimum 600 mm wide? |  |  |  |  |
| Free of rubbish, wood shavings, saw dust, oil, grease etc.? |  |  |  |  |
| ELECTRICAL | YES | NO | N/A | ACTION / COMMENTS |
| No cracked or broken switches? |  |  |  |  |
| All plug in type electrical equipment fitted with a current test & tag inspection tag? |  |  |  |  |
| No frayed or damaged leads? |  |  |  |  |
| All electrical cables tied or positioned as to prevent anyone tripping over them? |  |  |  |  |
| Electrical tools and appliances in good condition? |  |  |  |  |
| No double adaptors or piggy back plugs in use? |  |  |  |  |
| Power boards, appliances etc. not suspended from leads? |  |  |  |  |
| No strained leads? |  |  |  |  |
| Electrical leads, tools, appliances etc. well clear of wet damp conditions? |  |  |  |  |
| Residual Current Devices (RCD’s) installed and used where required? |  |  |  |  |
| Electrical leads & extensions not exposed to risk of damage from traffic, trolley’s sharp edges etc.? |  |  |  |  |
| Electrical cabinets’ secured and unobstructed access available? |  |  |  |  |
| SPRAY PAINTING | YES | NO | N/A | ACTION / COMMENTS |
| If spray painting or air brush painting is carried out, are approved spray booths used? |  |  |  |  |
| Are spray painting booths located away from any possible source of ignition? |  |  |  |  |
| Are lights and switches spark proof? |  |  |  |  |
| Is the spray booth regularly inspected e.g. filters, flow rates etc.? |  |  |  |  |
| GENERAL LIGHTING | YES | NO | N/A | ACTION / COMMENTS |
| Adequate lighting in place for activities conducted? |  |  |  |  |
| Light fittings clean & in good repair? |  |  |  |  |
| All light bulbs / fluorescent tubes working correctly? |  |  |  |  |
| Light covers in place where there is a potential for damage/injury? |  |  |  |  |

| STORAGE, MANUAL HANDLING & HOUSEKEEPING | YES | NO | N/A | ACTION / COMMENTS |
| --- | --- | --- | --- | --- |
| Work areas clean & tidy? |  |  |  |  |
| Sufficient waste containers and emptied regularly? |  |  |  |  |
| Materials & equipment stored safely e.g. heavy items at waist height? |  |  |  |  |
| Shelving – are free standing shelves and cupboards secured to ensure stability, and items stored at a suitable height and within shelving width? |  |  |  |  |
| Shelving is clearly labelled with weight ratings for each shelf? |  |  |  |  |
| Containers – are there suitable containers used for storage, and are they adequately labelled? |  |  |  |  |
| Manual Handling – are staff aware of precautions / techniques to take when lifting or moving objects? |  |  |  |  |
| Equipment is available to shift / move heavy, awkward items? |  |  |  |  |
| Storage areas uncluttered? |  |  |  |  |
| HAZARDOUS CHEMICALS | YES | NO | N/A | ACTION / COMMENTS |
| Chemicals are clearly labeled? |  |  |  |  |
| Hazardous substances/dangerous goods secured against unauthorised use? |  |  |  |  |
| Warning signs clear & legible? |  |  |  |  |
| Chemicals stored in designated storage areas? |  |  |  |  |
| Spill Kit available? |  |  |  |  |
| Safety Data Sheets (SDS’s) available for all hazardous Substances? |  |  |  |  |
| Oily Rags –are stored in steel bins with tight fitting lids? |  |  |  |  |
| Training - is suitable training on the workplace given to staff and students? |  |  |  |  |
| Disposal – are there adequate disposal protocols for waste in liquid storage areas as per the SDS? |  |  |  |  |
| Is there sufficient number of designated vented cabinets for storage of hazardous chemicals? |  |  |  |  |
| GAS CYLINDERS | YES | NO | N/A | ACTION / COMMENTS |
| Are gas cylinders properly secured to prevent tipping? |  |  |  |  |
| Are the gas cylinders equipped with pressure regulator valves? |  |  |  |  |
| Are the cylinders within the expiry date shown? |  |  |  |  |

| PERSONNEL PROTECTIVE EQUIPMENT (PPE) | YES |  | NO | N/A |  | ACTION / COMMENTS |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PPE is available and in use where required? |  |  |  |  |  |  |  |
| PPE is correctly stored when not in use? |  |  |  |  |  |  |  |
| PPE is clean & maintained in good condition? |  |  |  |  |  |  |  |
| WORKSHOP AND MACHINERY | YES |  | NO | N/A |  | ACTION / COMMENTS |  |
| Are the moving parts of all machinery and equipment guarded? |  |  |  |  |  |  |  |
| Do machines have clearly marked (with 50 mm wide sunflower yellow safety boundaries)? |  |  |  |  |  |  |  |
| Are emergency stops fitted where required and tested regularly? |  |  |  |  |  |  |  |
| WORKSHOP MANAGEMENT AND PRACTICES | YES |  | NO | N/A |  | ACTION / COMMENTS |  |
| Periodic Inspection – are all hand tools (including hand power and pneumatic tools) Inspected / maintained periodically for wear and tear, and is there a replacement procedure for damaged tools? Are appropriate guards fitted where required? |  |  |  |  |  |  |  |
| Training – are students instructed in the correct use of all hand held tools and other equipment? |  |  |  |  |  |  |  |
| Tools – are appropriate hand tools supplied for the job? |  |  |  |  |  |  |  |
| Extraction Systems – is there an adequate system in place, tested / inspected regularly, and are dust / particles, disposed of regularly? |  |  |  |  |  |  |  |
| Personnel Protective Equipment – Is the correct PPE provided, inspected, maintained and stored appropriately for all areas of the workshop? |  |  |  |  |  |  |  |
| Switches – are all machine switches, emergency stop etc. in easy safe reach? |  |  |  |  |  |  |  |
| Welding – does the following equipment comply with the requirements? - Cylinders chained / secured? - Flammable / combustible materials removed / minimised? - Appropriate shielding and PPE available? - Equipment serviced and maintained regularly? |  |  |  |  |  |  |  |
| Welding Shields – are adequate shields supplied and maintained? |  |  |  |  |  |  |  |
| Safe Operating Procedures – have been developed / documented for all tasks carried out, and if applicable, attached to equipment (includes welding, hydraulic systems, air compressors and gas cylinders etc.) |  |  |  |  |  |  |  |
| Authorisation – do only competent and authorised personnel use equipment? |  |  |  |  |  |  |  |
| Maintenance – is there a procedure to report all machine / workshop problems? Is there a maintenance schedule? |  |  |  |  |  |  |  |
| Machine Lock Out’s – are they fitted to prevent unauthorised usage (where required)? |  |  |  |  |  |  |  |
| Licensing / Authorisation – is the student authorised to operate their respective machine? |  |  |  |  |  |  |  |
| Step Ladders – are all steps / ladders maintained and on ladder register? |  |  |  |  |  |  |  |
| Warning Signs – are metal ladders marked with warning signs not to use near electrical plant? |  |  |  |  |  |  |  |
| HOISTS AND LIFTING EQUIPMENT | YES |  | NO | NA |  | ACTION / COMMENTS |  |
| Authorisation – do only competent people use hoists? |  |  |  |  |  |  |  |
| Limit Devices – do you have a limit devices on overhead hoists to stop hook travel at lowest and highest points of safe travel? |  |  |  |  |  |  |  |
| Holding Devices – are there automatic stopping and holding devices on hoists to suspend elevated loads during interruptions to power? Are hoist marked with loading capacities? |  |  |  |  |  |  |  |
| Clear Direction of Travel – do controls clearly show direction of travel? |  |  |  |  |  |  |  |
| All equipment and accessories are regularly inspected, certified, maintained and registered? |  |  |  |  |  |  |  |
| Packing – is packing used to prevent damage to lifting slings or loads? |  |  |  |  |  |  |  |
| ROTATING DEVICES (Grinders / Linisher’s / Lathes) | YES |  | NO | N/A |  | ACTION / COMMENTS |  |
| Emergency Stop – are emergency stop facilities fitted on spinning or rotating devices? |  |  |  |  |  |  |  |
| Grinders – are work rests adequately adjusted to the wheel, and are guards fixed as per manufacturers recommendations? Are abrasive wheels “ring tested” before installation to ensure they are not fractured? (Test each new grinding wheel prior to installation by suspending on a screwdriver, cord or similar, tap wheel lightly with a metal object – a clear ring should be heard) |  |  |  |  |  |  |  |
| Ventilation/Extraction – is there adequate particle extraction available and it is regularly maintained? |  |  |  |  |  |  |  |
| Lighting – are only incandescent / LED globes used over lathes and other variable speed devices? (Fluorescent tubes may make rotating parts appear to be standing still or rotating slowly through a strobe effect) |  |  |  |  |  |  |  |
| SECURITY | YES |  | NO | N/A |  | ACTION / COMMENTS |  |
| Security lights functioning correctly? |  |  |  |  |  |  |  |
| External doors and windows operate securely with ease? |  |  |  |  |  |  |  |
| Locks to external doors & windows easy to operate? |  |  |  |  |  |  |  |
| External self-closing doors shut fully? |  |  |  |  |  |  |  |
| OTHER: |  |  |  |  |  |  |  |
| CORRECTIVE ACTIONS |  |  |  |  |  |  |  |
| Complete action plan below or use sites corrective action system to implement controls to eliminate or minimise the risk. |  |  |  |  |  |  |  |
| List the corrective actions |  | Priority (H, M, L) |  |  | By Whom |  | By When |
| 1. |  |  |  |  |  |  |  |
| 2. |  |  |  |  |  |  |  |
| 3. |  |  |  |  |  |  |  |