EMERGENCY PREPAREDNESS CHECKLIST

| DETAILS |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sector: |  |  |  |  | Assessment Date: |  |  |  |  |
| Site Name: |  |  |  |  |  |  |  |  |  |
| Assessed By: |  |  |  |  |  |  |  |  |  |
| CHECKLIST |  |  |  |  |  |  |  |  |  |
| ASSESSMENT |  | Yes | No |  |  | N/A | ACTIONS REQUIRED |  |  |
| EMERGENCY ITEM |  |  |  |  |  |  |  |  |  |
| 1. Warning Signals |  |  |  |  |  |  |  |  |  |
| Is there a mechanism such as visual/audible alarms for alerting everyone in the workplace of an emergency? |  |  |  |  |  |  |  |  |  |
| Are visual/audible alarms operational? |  |  |  |  |  |  |  |  |  |
| Area visual/audible alarms activated automatically? |  |  |  |  |  |  |  |  |  |
| Are smoke/heat detection systems present? |  |  |  |  |  |  |  |  |  |
| Is there a regular maintenance schedule for alarms & detectors? |  |  |  |  |  |  |  |  |  |
| Does the fire alarm automatically notify the Fire Department? |  |  |  |  |  |  |  |  |  |
| Is the alarm control panel accessible when the building is occupied? |  |  |  |  |  |  |  |  |  |
| Has the impact of neighbouring buildings, business or environment been considered? |  |  |  |  |  |  |  |  |  |
| 2. Communications |  |  |  |  |  |  |  |  |  |
| Is there a phone accessible in every area/floor? |  |  |  |  |  |  |  |  |  |
| Are emergency numbers attached to or posted near the phones? |  |  |  |  |  |  |  |  |  |
| Is there a process / procedure for the receptionist / switch board operator? |  |  |  |  |  |  |  |  |  |
| Is there an alternate means of communication in the event of a power outage? |  |  |  |  |  |  |  |  |  |
| Is there a process for advising neighbouring businesses about an emergency situation should one arise? |  |  |  |  |  |  |  |  |  |
| Is there a process for communicating with the press and next of kin of injured persons? |  |  |  |  |  |  |  |  |  |
| 3. Evacuation |  |  |  |  |  |  |  |  |  |
| Are evacuation routes posted? |  |  |  |  |  |  |  |  |  |
| Are secondary routes of exit identified? |  |  |  |  |  |  |  |  |  |
| Are exits marked with an exit sign? |  |  |  |  |  |  |  |  |  |
| Are exit signs illuminated? |  |  |  |  |  |  |  |  |  |
| Are emergency lights present and working properly? |  |  |  |  |  |  |  |  |  |
| Do exits empty out into vehicular traffic? |  |  |  |  |  |  |  |  |  |
| Are exits supported with emergency lighting? |  |  |  |  |  |  |  |  |  |
| Is there an emergency light in each access way? |  |  |  |  |  |  |  |  |  |
| Are exit routes unobstructed? |  |  |  |  |  |  |  |  |  |
| Are there at least 2 exits in all critical areas? |  |  |  |  |  |  |  |  |  |
| Are procedures in place for assisting people with physical disabilities, deafness or hearing impairments or blind and visual impairments? |  |  |  |  |  |  |  |  |  |
| Are there sufficient exits to permit prompt escape in the event of an emergency? |  |  |  |  |  |  |  |  |  |
| Are exit doors easily opened (without a key) from the direction of exit travelled? |  |  |  |  |  |  |  |  |  |
| Are there procedures for lifts / escalators? |  |  |  |  |  |  |  |  |  |
| Is there a traffic management process to address vehicle movements? |  |  |  |  |  |  |  |  |  |
| Are building access roads for emergency vehicles kept free of obstructions? |  |  |  |  |  |  |  |  |  |
| Do self-closing fire doors work properly? |  |  |  |  |  |  |  |  |  |
| Are access walkways to the building for emergency personnel kept free of obstructions? |  |  |  |  |  |  |  |  |  |
| Is there a designated assembly point? |  |  |  |  |  |  |  |  |  |
| Is there a process for accounting for people? |  |  |  |  |  |  |  |  |  |
| Are emergency drills conducted at least annually? |  |  |  |  |  |  |  |  |  |
| 4. Utilities / Electrical Control |  |  |  |  |  |  |  |  |  |
| Is the building equipped with gas shut-off valves? |  |  |  |  |  |  |  |  |  |
| Are the gas valves marked and accessible? |  |  |  |  |  |  |  |  |  |
| Is the building equipped with RCD Safety switches for electricity? |  |  |  |  |  |  |  |  |  |
| Are the electrical outlets and switches marked to identify the distribution board, and accessible? |  |  |  |  |  |  |  |  |  |
| Are electrical cords in good condition? |  |  |  |  |  |  |  |  |  |
| Do extension cords present a tripping hazard? |  |  |  |  |  |  |  |  |  |
| Is storage around electrical equipment safely arranged? |  |  |  |  |  |  |  |  |  |
| Is any defective equipment properly marked and taken out of service? |  |  |  |  |  |  |  |  |  |
| Are electrical outlets overloaded? |  |  |  |  |  |  |  |  |  |
| Does the building have a back-up energy source? |  |  |  |  |  |  |  |  |  |
| 5. Fire Suppression / Emergency Response Equipment |  |  |  |  |  |  |  |  |  |
| Appropriate types of fire extinguishers available for the risks at the workplace (e.g. foam or dry powder type extinguishers for fires involving flammable liquids) and in sufficient number? |  |  |  |  |  |  |  |  |  |
| Are fire extinguishers/fire hoses located in the appropriate places? |  |  |  |  |  |  |  |  |  |
| Are fire extinguishers/fire hoses inspected according to local requirements? |  |  |  |  |  |  |  |  |  |
| Are fire extinguishers/fire hoses visible, accessible and free of obstructions? |  |  |  |  |  |  |  |  |  |
| Are sprinkler heads free of obstructions? |  |  |  |  |  |  |  |  |  |
| Is there a fire hydrant located in the vicinity of the building? |  |  |  |  |  |  |  |  |  |
| Is any other emergency response equipment needed e.g. stretchers? |  |  |  |  |  |  |  |  |  |
| Have first aid requirements been addressed (e.g. emergency equipment, facilities) to deal with the type of emergencies that may arise? |  |  |  |  |  |  |  |  |  |
| Has a First Aid Risk Assessment for the site been completed? |  |  |  |  |  |  |  |  |  |
| Are workers trained to use emergency equipment (e.g. fire extinguishers, chemical spill kits, breathing apparatus, lifelines)? |  |  |  |  |  |  |  |  |  |
| Is equipment easily accessible in an emergency? |  |  |  |  |  |  |  |  |  |
| 6. Housekeeping |  |  |  |  |  |  |  |  |  |
| Are floors in good state of repair? |  |  |  |  |  |  |  |  |  |
| Is the building interior clean and orderly? |  |  |  |  |  |  |  |  |  |
| Are storage areas clean and orderly? |  |  |  |  |  |  |  |  |  |
| Is equipment properly stored? |  |  |  |  |  |  |  |  |  |
| Is there anything restricting egress from the building? |  |  |  |  |  |  |  |  |  |
| Is the outside of the building clearly marked with a name or number? |  |  |  |  |  |  |  |  |  |
| Are elevated surfaces more than 30 inches above the floor or ground provided with a standard rail? |  |  |  |  |  |  |  |  |  |
| Are stairways kept clear? |  |  |  |  |  |  |  |  |  |
| Are flammable liquids properly stored? |  |  |  |  |  |  |  |  |  |
| Is the area free of an accumulation of combustible materials? |  |  |  |  |  |  |  |  |  |
| 7. Immediate Response Action |  |  |  |  |  |  |  |  |  |
| Are immediate emergency response action plans for various scenarios in place? |  |  |  |  |  |  |  |  |  |
| Are there trained emergency response personnel e.g. Chief Warden, Area/Floor Wardens, Traffic Controller, First Aiders? |  |  |  |  |  |  |  |  |  |
| Are First Aider and Warden training records available? |  |  |  |  |  |  |  |  |  |
| Are workers trained in the established response action? |  |  |  |  |  |  |  |  |  |
| Are there records of evacuation drills and how often have these occurred? |  |  |  |  |  |  |  |  |  |
| Are workers provided with information regarding site emergency procedures during induction? |  |  |  |  |  |  |  |  |  |
| 8. Security |  |  |  |  |  |  |  |  |  |
| Are visitor / contractor sign ins available? |  |  |  |  |  |  |  |  |  |
| 9. Documentation |  |  |  |  |  |  |  |  |  |
| Is there a written Emergency Management Plan covering relevant emergency situations with clear emergency procedures? |  |  |  |  |  |  |  |  |  |
| Is the plan accessible to all workers? |  |  |  |  |  |  |  |  |  |
| Is someone responsible for reviewing the Emergency Management Plan and informing staff of any revisions? |  |  |  |  |  |  |  |  |  |
| Has it been reviewed annually? |  |  |  |  |  |  |  |  |  |
| Has it been reviewed following an emergency exercise or when changes at the workplace may affect the emergency conditions? |  |  |  |  |  |  |  |  |  |
| Is an Evacuation Report completed after every emergency drill / incident? |  |  |  |  |  |  |  |  |  |
| Are contact details for emergency personnel and emergency services available / regularly reviewed? |  |  |  |  |  |  |  |  |  |
| Is there a current site plan (Evacuation Diagram) and is it displayed in key locations throughout the workplace? |  |  |  |  |  |  |  |  |  |
| Does the site plan (Evacuation Diagram) illustrate the location of fire protection equipment, emergency exits and assembly points? |  |  |  |  |  |  |  |  |  |
| 10. Inspection and Testing |  |  |  |  |  |  |  |  |  |
| Is there an inspection and testing program for all emergency equipment? |  |  |  |  |  |  |  |  |  |
| Does the testing frequency of emergency equipment occur at least 6 monthly? |  |  |  |  |  |  |  |  |  |
| Is emergency equipment, first aid equipment / rooms, and evacuation drills listed? |  |  |  |  |  |  |  |  |  |

| CORRECTIVE ACTIONS |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Complete action plan below if there are known controls for the hazards identified above. If there are no known controls complete Risk Assessment (004F) |  |  |  |  |  |  |  |  |
| List the corrective actions |  |  | Priority (H, M, L) |  |  | By Whom |  | By When |
| 1. |  |  |  |  |  |  |  |  |
| 2. |  |  |  |  |  |  |  |  |
| 3. |  |  |  |  |  |  |  |  |
| Transfer HIGH Risk Corrective Actions (as a minimum) into Corrective Action Register |  |  |  |  |  |  |  |  |
| Sign Off |  |  |  |  |  |  |  |  |
| Assessment Team | Name | Job Title |  | Signature |  |  | Date |  |
| Team Leader |  |  |  |  |  |  |  |  |
| Team Member |  |  |  |  |  |  |  |  |
| Team Member |  |  |  |  |  |  |  |  |
| Team Member |  |  |  |  |  |  |  |  |
| I take responsibility for ensuring all corrective actions are completed and followed up to review effectiveness. |  |  |  |  |  |  |  |  |
| Manager: name, position and signature |  |  |  |  | Date: |  |  |  |
| Team Leaders Comments |  |  |  |  |  |  |  |  |