MONTHLY EMERGENCY SHOWER / EYEWASH INSPECTION

Note: Two (2) persons should undertake these checks.

| Location of Shower / Eyewash (complete separate sheet for each unit) |  |  |
| --- | --- | --- |
| General |  |  |
| - Shower / eyewash is free of obstructions? | Yes | No |
| - Shower / eyewash is within 10 seconds travel from where substances are used that might require these facilities? | Yes | No |
| - Shower / eyewash is clearly signed? | Yes | No |
| Shower |  |  |
| - There are no visible broken parts, leaks, pipe damage evident etc.? | Yes | No |
| - When operated for 5 seconds, water runs clear/water collected is clear? (If no, re-do for an additional 5 seconds and subsequent times if required) | Yes | No |
| - Showerhead is free from corrosion? | Yes | No |
| - On / Off valves are operational, activated by a single motion? | Yes | No |
| - Water flow remains on when activated? | Yes | No |
| Eyewash |  |  |
| - There are no broken parts, leaks, pipe damage evident etc.? | Yes | No |
| - Dust covers are in place on aerators and in good condition? | Yes | No |
| - When operated the dust covers dislodge with the flow of water? | Yes | No |
| - When operated for 5 seconds, water runs clear/water collected is clear? (If no, re-do for an additional 5 seconds and subsequent times if required) | Yes | No |
| - Aerators are in good condition and free from corrosion? | Yes | No |
| - Water flow is continuous, low pressure (soft) and even from both aerators? | Yes | No |
| - Water flow remains on when activated? | Yes | No |

| Portable Eyewash Bottles |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| - Are in place and readily accessible? |  |  |  | Yes | No |
| - Are sealed and in date? |  |  |  | Yes | No |
| - Signage is in place and clearly visible? |  |  |  | Yes | No |
| Action Required (If none required write in nil) |  | By Whom |  | By When |  |
| Inspection completed by (1) |  |  | Signature |  |  |
| Inspection completed by (2) |  |  | Signature |  |  |
| Date Inspection completed |  |  |  |  |  |