Automated External Defibrillator Testing Record

Each time after using the Defibrillator, you need to replace the pads with a new set and check the battery.

This checklist is provided as general guidance for defibrillator maintenance. Each worksite should take reasonable steps to inform itself of its legal responsibilities for maintaining a defibrillator and check with the manufacturer for additional instructions.

| AED Location: |  |
| --- | --- |
| AED Make / Model: |  |
| AED Serial #: |  |
| Date battery installed: |  |
| Date battery expires: |  |
| Date pads expire: |  |

| Date of inspection | Q1 | Q2 | Q3 | Q4 |
| --- | --- | --- | --- | --- |
| Status ready indicator shows the unit is ready |  |  |  |  |
| Battery is working and not expired |  |  |  |  |
| Unit is free of cracks, foreign substances, or other signs of damage |  |  |  |  |
| Pads are sealed, unused, and not expired |  |  |  |  |
| Supporting materials are sealed and unused within expiration – face shield, scissors, gloves, razor, alcohol wipes |  |  |  |  |
| Completed by: |  |  |  |  |