SMOKE ALARM TEST REGISTER

DO NOT ATTEMPT TO TEST UNTIL YOU HAVE RECEIVED TRAINING FROM A COMPETENT PERSON

| SERIAL NO. | AREA/LOCATION/DATE | DATE OF TEST / RESULTS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Smoke Alarms |  |  | Smoke Alarms |  |  |
|  |  | / / |  |  | / / |  |  |
|  |  | Tester/s: |  |  | Tester/s: |  |  |
|  |  | PASS | FAIL | ACTIONS | PASS | FAIL | ACTIONS |
|  |  | ☐ | ☐ |  | ☐ | ☐ |  |
|  |  | ☐ | ☐ |  | ☐ | ☐ |  |
|  |  | ☐ | ☐ |  | ☐ | ☐ |  |
|  |  | ☐ | ☐ |  | ☐ | ☐ |  |
|  |  | ☐ | ☐ |  | ☐ | ☐ |  |
|  |  | ☐ | ☐ |  | ☐ | ☐ |  |
|  |  | ☐ | ☐ |  | ☐ | ☐ |  |
|  |  | ☐ | ☐ |  | ☐ | ☐ |  |

NOTE: 	Smoke alarms have a lifespan of 10 years from the date of manufacture. This date can be found on the back, side or the inside of the drop-down door, depending on the type 	of smoke alarm. If when testing it is identified that the smoke alarm is greater than 10 years old, the test should indicate ‘Fail’ and an electrician engaged to replace. Some are 	hard wired, and some operate with a battery, usually a 9 volt one. Some batteries do not require replacement, some do. If the battery is a replaceable one, this needs to be 	replaced once a year.